## Slide 3: types
DC drives
AC drives

## Slide 4: Sample drives

## Slide 5: Un interruptible power supply (UPS) types short break UPS No break UPS

## Slide 9: FACTS
Flexible AC Transmission Systems (FACTS) controllers use power electronics to enhance power transfer capacity, stability, and voltage control in high-voltage lines.
Types
shunt
series

## Slide 10: Distributed generation systems
Distributed power generation systems (DG) produce electricity directly at or near the consumer's location, rather than at centralized, distant power plants. T

## Slide 13
Custom Power Devices (CPDs) are power-electronic controllers used in distribution systems to improve power quality, mitigate harmonics, and correct voltage issues like sags and swells
DSTATCOM (shunt-connected for current issues), DVR (series-connected for voltage sags), and UPQC (combination of both)